## Prilog A 26-2-ONTC-0041
Prilog A_ZA POPUNU DOBAVLJACA | [5 empty] | POPUNJAVA DOBAVLJAČ - OBAVEZNO
RB | SAP br. materijala | Opis MTR | SPECIFIKACIJA | Jedinica mere | Ukupna količina | KOLIČINA/PAKOVANJE | KATALOŠKI BROJ | PROIZVOĐAČ | TEHNIČKA SPECIFIKACIJA-LINK KA SAJTU PROIZVOĐAČA
| 8123480 | METANOL HPLC GRADE 2,5LIT | METANOL, HPLC GRADE PAKOVANJE 2,5l - metil alkohol ANHIDROVAN | KOM | 7
| 8117908 | ETIL ALKOHOL APSOLUTNI 99,5% 1/1 | ETIL ALKOHOL APSOLUTNI 99.5% anhydrous, spectro grade, PAK 1L | L | 50
| 8113730 | DIETIL ETAR 1/1 | DIETIL ETAR * P.A. | KOM | 7
| 8169519 | PUFER PH4.00 RASTVOR 500ML | PUFER RASTVOR pH 4.00, sa sertifikatom prema ISO/IEC 17025, 500 ml, sa sertikatom koji deklariše ph na Temp na 25C sa definisanim odstupanjem, rok minumum 2 godine od isporuke | KOM | 6
| 8169520 | PUFER PH7.00 RASTVOR 500ML | PUFER RASTVOR pH 7.00, sa sertifikatom prema ISO/IEC 17025, 500 ml, sa sertikatom koji deklariše ph na Temp na 25C sa definisanim odstupanjem, rok minumum 2 godine od isporuke | KOM | 6
| 8124050 | N HEPTAN 2,5 LIT | N-HEPTAN * P.A. pak.2,5 lit. 99 % | KOM | 35
| 8184077 | HEKSAN ZA GASNU HROMATOGRAFIJU 2,5L | N-HEKSAN, za gasnu hromatografiju, ČISTOĆE MIN.99%, PAK 2500 ML | KOM | 40
| 8117971 | FENOL PA PAK.50 G ZA STANDARD | FENOL P.A. ZA STANDARD - 50GR čvrst, extra pure, water, max 0.2% | KOM | 1
| 8115668 | CILINDAR GRADUISANI VF 25ML | CILINDAR GRADUISANI 25ml V.F. | KOM | 1
| 8182946 | STANDARD ZA MEMK EN 14078 VHG LABS | STANDARDI ZA MEMK EN 14078 VHG LABS 7X20ml:. SET ČINE 1. BDBLEND - BLK (100% High Cetane Diesel Fuel; VHG-BDBLEND-BLK-20) 2. BDBLEND - 2%V/V (2% Biodiesel/98% High Cetane Diesel Fuel, v/v, Product Code: VHG-BDBLEND-2P-20) 3. BDBLEND - 5%V/V, (5% Biodiesel/95% High Cetane Diesel Fuel, v/v, Product Code: VHG-BDBLEND-5P-20) 4. BDBLEND - 10%V/V (10% Biodiesel/90% High Cetane Diesel Fuel, v/v, Product Code: VHG-BDBLEND-10P-20) 5. BDBLEND - 15% V/V (15% Biodiesel/85% High Cetane Diesel Fuel, v/v, Product Code: VHG-BDBLEND-15P-20) 6. BDBLEND - 20% V/V (20% Biodiesel/80% High Cetane Diesel Fuel, v/v, Product Code: VHG-BDBLEND-20P-20) 7. BDBLEND - 100%V/V (100% Biodiesel, Product Code: VHG-BDBLEND-100P-20) | KOM | 1
| 8190313 | STANDARD CRM ZA VISKOZ. VIS. TEMP.N2000 | CRM ZA VISKOZITET VISOKA TEMPERAT.N2000 - N2000 PARAGON SCIENTIFIC | KOM | 1
| 8190314 | STANDARD CRM ZA VISKOZITET VISOKA T.N600 | CRM ZA VISKOZITET VISOKA TEMPERAT.N600 - N600 PARAGON SCIENTIFIC | KOM | 1
| 8178561 | STANDARD CRM ZA ODREDJIVANJE MAZIV.DF70 | STANDARD - CRM - ZA ODREĐIVANJE MAZIVOSTI - DF 7000 SF 006 HALTERMANN PROD | KOM | 1
| 8178563 | STANDARD CRM ZA ODREDJIVANJE MAZIV.DF92 | STANDARD - CRM - ZA ODREĐIVANJE MAZIVOSTI DF 9202 HALTERMANN PROD | KOM | 1
| 8191509 | STANDARD CRM ZA BOJU PO SAYBOLT | CRM SAYBOLT COLOUR 15389-0 SAYBOLT COLOUR 25±1, 500 ml | KOM | 1
| 8191496 | STANDARD CRM TACKE MRZNJENJA -50C | KALIBRACIONI STANDARD ZA ODREĐIVANJE TAČKE MRŽNJENJA -50°C, KATALOŠKI BROJ ASTM-P-129-01, ACCUSTANDARD, 250ml | KOM | 1
| 8100136 | RASTV.ZA ICP OES AVIO 200, V-SOLV 5 GAL | Rastvarač za ICP OES AVIO 200, V-Solv ICP Solvent , 5 gal, hydrocarbon oil kat. Br.N9308378 | KOM | 1
| 8195101 | STANDARD METALNI ADITIV MA4 | STANDARD METALNI ADITIV MA4/ Ca 5000 µg/g/Mg, P, Zn 1600µg/g, hidrocarbon oil, 200 g KAT.BR. N0776108, PERKIN ELMER | KOM | 1
| 8101392 | STANDARD METALNI V26 100 MIKG-G | V26 Wear Metals Standard, 100 µg/g, in Hydrocarbon Oil, 100 g N0776136 Perkin Elmer (VHG Labs) | KOM | 1
| 8101393 | STANDARD METALNI V26 50 MIKG-G | V26 Wear Metals Standard, 50 µg/g, in Hydrocarbon Oil, 100 g N0776135 Perkin Elmer (VHG Labs) | KOM | 1
| 8101394 | STANDARD METALNI V26 30 MIKG-G | V26 Wear Metals Standard, 30 µg/g, in Hydrocarbon Oil, 100 g N0776132 Perkin Elmer (VHG Labs) | KOM | 1
| 8100095 | VODA MORSKA SINTETICKA ASTM D665 | VODA MORSKA SINTETICKA ASTM D665 | KOM | 1
| 8115378 | ERLENMAJER SIROKO GRLO STAKLO 1000ML | ERLENMAJER SIROKO GRLO STAKLO 1000ML, STANHOPE SETA KATALOŠKI BROJ,21300-002 | KOM | 2
| 8115379 | NAPRSTAK ZA EKSTRAKCIJU | NAPRSTAK ZA EKSTRAKCIJU, 5 KOM/PAK, STANHOPE SETA KATALOŠKI BROJ 21300-001 | PAK | 1
| 8115467 | GREJAC PECI ZA GC 7890A | GREJAC PECI ZA GC 7890 AG1530-61640 AGILENT | KOM | 1
| 8115465 | SKLOP GREJAC SENZOR ZA GC 7890A | SKLOP GREJAC SENZOR ZA GC 7890 AGILENTAG1530-67950, 1 KOM/PAK | KOM | 1
| 8115456 | HVATAC UZORKA PLASTICNI AA 55B SPECTRA | HVATAC UZORKA UNIVERZALNI ZA AA 55B SPECTRA VARIAN 1 KOM/PAK; (Liquid trap and float, PN: 99 100616 00) | PAK | 1
| 8115461 | KIVETA MALA ZA KOKS ACR M3 | HVATAC UZORKA UNIVERZALNI ZA AA 55B SPECTRA VARIAN 1 KOM/PAK; (Liquid trap and float, PN: 99 100616 00) | PAK | 1
| 8115460 | O RING KOMPLET ORGANSKI AA 55B SPECTRA | O RING KOMPLET ZA AA 55B SPECTRA VARIAN (O-ring kit for universal spray chamber, PN: 99 100457 00) | PAK | 1
| 8115469 | GLIKOL U ULJU KALIBRACIONI SET | GLIKOL U ULJU KALIBRACIONI SET VHG EGOIL SET VHG 6 KOM/PAK | PAK | 1
| 8115454 | SET KALIBRACIONI ZA ULJE ZA 4 METALA | Set od 17 kalibracionih standarda, sa sadržajem kalcijuma, fosfora cinka i sumpora. Proizvođač:ASI Standard, Product Code:LOEASTM1 | PAK | 1
| 8115475 | STANDARD CRM ZA VISKOZNOST 50CST NA 40C | STANDARD CRM ZA VISKOZNOST 50CST NA 40C VHG-VISC50-500 500ml | KOM | 1
| 8115471 | STANDARD CRM ZA VISKOZNOST N10 | STANDARD CRM ZA VISKOZNOST N10 9727-C32 CANON 500mL | KOM | 1
| 8115470 | STANDARD INTERNI KOBALT 6%MINERALNO ULJE | STANDARD INTERNI KOBALT 6% U MIN.ULJU VHG-OCO-6PIS 200g | KOM | 1
| 8195098 | STANDARD INTERNI KOBALT 5000 | INTERNI STANDARD CO, 5000 µG/G, 50 G, U ULJOVODONIČNOM ULJU, KAT.BR. N9308258, PERKIN ELMER | KOM | 1
| 8115468 | ULJE KALIBRACIONO RL233 | ULJE KALIBRACIONO RL233 RL233, TMCASTM D6278 1 KOM/PAK | KOM | 1
| 8115441 | TERMOMETAR ASTM 128C ZA ODR.VISKOZ.0C | TERMOMETAR ASTM 128C ZA ODR.VISKOZ.0C 04-500-251 FISHER SCIENTIFIC | KOM | 1
| 8115455 | PAPIR TERMO ROLNA 80MMX25M | Termo papir za NEX QC+ RIGAKU (Thermal paper Rolls, Seiko instruments Inc., PN: NAP-0080-025S (SS080-025B)) | PAK | 2
| 8115478 | BALON 125 ML ZA DIANA 700 DESTILATOR | BALON 125 ML ZA DIANA 700 DESTILATOR 186744 ANTON PAAR | KOM | 10
| 8115484 | CISTAC KONDENZATORSKE CEVI DIANA 700 | CISTAC KONDENZATORSKE CEVI DIANA 700 210173 ANTON PAAR | KOM | 1
| 8115480 | MENZURA 100 ML ZA DIANA 700 DESTILATOR | MENZURA 100 ML ZA DIANA 700 DESTILATOR 195234 ANTON PAAR | KOM | 2
| 8115488 | PLOCA ZA GREJAC FI 38 DIANA 700 | PLOCA ZA GREJAC FI 38 DIANA 700 ANTON PAAR | KOM | 1
| 8115489 | PLOCA ZA GREJAC FI 50 DIANA 700 | PLOCA ZA GREJAC FI 50 DIANA 700 ANTON PAAR | KOM | 1
| 8115481 | RAZBIJAC KAPI DIANA 700 DESTILATOR | RAZBIJAC KAPI DIANA 700 DESTILATOR 194531 ANTON PAAR | KOM | 1
| 8115477 | SONDA PT 100 ZA DIANA 700 DESTILATOR | SONDA PT 100 ZA DIANA 700 DESTILATOR 388316 ANTON PAAR | KOM | 1
| 8115486 | ZATVARAC KONDENZATORSKE CEVI DIANA 700 | ZATVARAC KONDENZATORSKE CEVI DIANA 700 191097 ANTON PAAR | KOM | 1
| 8100168 | NATRIJUM DIOKTILSULFOSUKCINAT 96% | Dioctyl sulfosuccinate sodium salt, PN: 323586-100G SIGMA-ALDRICH | KOM | 4
| 8115543 | RASTVOR DOKTOR KOMERCIJALNI | RASTVOR ZA DOKTOR TEST KOMERCIJALNI 1L, Doctor Solution (Sodium plumbite) 1L | L | 3
| 8190362 | SPRIC 0,5MIKL ZA REFORMULAJZER | ŠPRIC 0,5 MIKROLITARA ZA REFORMULAJZER - Analytical Controls, kat.broj 21090.005 Syringe 0,5 µl, 2/pak | KOM | 1
| 8193774 | O PRSTEN 5188-5365 | O PRSTEN AGILENT 5188-5365 | PAK | 2
| 6205440 | FERULA, FLEXI, INERT 0,32MM KOM 10-PK | G3188-27502Agilent | KOM | 3
| 6125492 | REAGENS HYDRANAL COULOMAT AG OVEN 500ML | HIDRANAL COULOMAT AG OVEN - PAK 500ml - ZA BIODIZEL - 34739 ALDRICH | KOM | 10
| 8197955 | UMETAK FILTERA ZA VAZDUH 110675 | UMETAK FILTERA ZA VAZDUH 110675 ZA CFR MOTOR | KOM | 2
| 8117675 | DI KALIJUM HIDROGEN FOSFAT | DIKALIJUM HIDROGEN FOSFAT * P.A. anhidrovani | G | 650
| 6141183 | SENZOR RED SPOT ZA APARAT | DEWPOINT SENSOR FOR SHAW SADP PORTABLE DEWPOINT METER, SILVER (RANGE -100 to -20 °C; 0-1000ppm (V)) | KOM | 1
| 8182553 | KAPILARA VISKOZIMETRA S-150 ZA P.T. | KAPILARA ZA VISKOZIMETAR S-150 ZA P.T. Viskozimetar Canno Fenske veličine 150 za providne tečnosti sa sertifikatom za konstante na 20, 40 i 100C | KOM | 1
| 8191805 | PIPETA ZA CFPP ZA AFP-102 | Staklena pipeta za CFPP AFP-102 TANAKA 1 KOM/PAK (Pipette AFP 102/202 use) | KOM | 1
| 8100113 | U CEV NEONSKA L 16W 25 U BELA | neonska U-cev za kupatilo za viskoznost, L 16W/25U, bela | KOM | 1
| 8169016 | FILM POLIKARBONAT ZA LAB X 3500 | FILM POLIKARBONATNI ZA LAB-X 3500 (OXFORD INSTRUMENTS POLY-S HIGH PERFORMANCE XRF SAMPLE FILM 100M, 3.5MICRON, P/N: L74) | KOM | 2
| 6135128 | CREVO NEOPRENSKO ZA F2 UNIT CFR 2M | CREVO NEOPRENSKO ZA Waukesha F2 UNIT CFR motor 2m | KOM | 1
| 8198218 | CEP SA OTVOROM ZA KIVETU 43MM | Čep sa otvorom za kivetu za Brukfild, teflon/plastika (ASTM D 2983), PRILOG 8198218 | KOM | 3
| 8197980 | PODMETAC BAKARNI B10065 | PRSTEN BAKARNI DIHTUNG (PODMETAC BAKARNI) ZA CFR MOTOR(kat.br.B10065), WAUKESHA | KOM | 1
| 8191439 | KALIJUM HIDROGEN TARTARAT 99% | KALIJUM HIDROGEN TARTARAT min 99%, 1kg | KOM | 1
| 6168141 | SPOJNICA ZA CFR MOTOR 109419 | SPOJNICA ZA CFR MOTOR WAUKESHA 109421 | KOM | 2
| 8198173 | O-KSILOL MIN 99.0% 250ML | O-KSILOL MIN 99.0% 250ML | KOM | 1
| 8101096 | PRSTEN ZA PRIPREMNU STANICU AC600 | O-RING PACK ZA LECO AC600 621-605-686 | KOM | 1
| 6205852 | DEO KERAMICKI AC600 | CERAMIC WASHER 776-562 LECO | KOM | 1
| 6205853 | ZAVRTANJ AC600 | SCREW 621-605-821 LECO | KOM | 4
| 6205854 | OPRUGA AC600 | SPRING 621-605-824 LECO | KOM | 1
| 8101182 | OSIGURAC AC600 | PLUG 621-605-948 LECO | KOM | 1
| 8101184 | FITILJ AC600 | FUSE THREAD COTTON PART NO.502-461 LECO | KOM | 1
| 8101183 | ZICA ZA PALJENJE AC600 | WIRE IGNITER THREAD FUSE PART NO. 502-460 LECO | KOM | 7
| 8191460 | CRM ZA OKS STAB BIODIZELA EN15751 | Certified Reference Material Fatty Acid Methyl Ester (FAME) Standard, CRMFAGO-250ML | KOM | 2
| 6187048 | DIHTUNG TELA NIVOKAZNOG STAKLA CFR MOTOR | DIHTUNG TELA NIVOKAZNOG STAKLA CFR MOTORA - WAUKESHA 75552A | KOM | 1
| 8189929 | RASTVOR PUFERSKI PH10-TITRISOL | PUFER PH-10*PAK.AMPULA Koncentrat za pripremu 1000ml rastvora ph 2, sa sertifikatom koji definiše pH na različitim temeraturama i mernu nesigurnost | KOM | 1
| 8135454 | KRPA ZA SUDJE | KRPA ZA SUDJE | KOM | 6
| 8192087 | POSUDA ZA UZORKOVANJE 302-026 | POSUDA ZA UZORKOVANJE ZA TAČKU TEČENJA 302-026 PAC-Herzog | KOM | 1
| 8124049 | N HEPTAN ASTM | PRF n-heptane for the CFR-engine (according methods ASTM D2699, ASTM D2700) | KG | 142
| 8192113 | BIRETA UNUTRASNJ.TITRATORA 1203746 | BIRETA UNUTRASNJ.TITRATORA KYOTO MKC 501N 1203746/981030002 | KOM | 1
| 8100998 | POSUDA KOMPLET INOX ZA UZORKOVANJE | Posude za uzorkovanje od materijala INOX; tri različite veličine: 100 ml, 500 ml, 1000 ml i valjkastog oblika u dve veličine: 500 ml i 1000 ml | KOM | 1